## Column_Info
MODIS paper used a total score of 22 as a critera to select qualified datasets
Table 1. Minimum information about metabolomics experiment with mass spectrometry list of required information
Column title | Description | Example | Col Type | Score | Value domain under→MODIS→MODIS experimental procedures→MS
Analysis type | Analysis type | Targeted tendem MS | CODE | 1 | →MS analysis type
MS ionization type | MS ionization type | Negative ESI | CODE | 1 | →MS ionization type
MS instrument type | MS instrument type | Agilent 6530 QTQF | CODE | 1 | →MS ionization type
Source of QC or reference sample | Source of QC or reference sample | QC from pooled samples | CODE | 1 | →Standard or QC reference materials
Spectral MS library | Spectral libraries of MS standard references used for metabolomics matching | NIST11 library | CODE | 1 | →Spectral libraries of standard references
ESI: Electrospray ionization; MODIS: Metabolomics data integration system; MS: Mass spectrometry; QC: Quality control; QTOF: Quadrupole time-of-flight.
Table 2. Excerpt of minimum information about metabolomics experiment with mass spectometry list of optionalinformation.
Column | Description | Example | Column type | Score | Value domain under→MODIS→MODISexperimental procedures→MS→Analysis
Caplillary temprature celsus | Caplillary temprature celsus | 300 | Decimal | 0.5 | →Capillary temperaturecelsius
Capillary voltage | Capillary voltage | 3500 | Decimal | 0.5 | →Capillary voltage
Collision energy | Collision energy V | 10 | Decimal | 0.5 | →Collision energy V
Collision gas | Collision gas | Argon | CODE | 0.5 | →Collision gas
Dry gas flow | Dry gas flow l/h | 900 | Decimal | 0.5 | →Dry gas flow l/h
Dry gas temperaturecelsius | Dry gas temperaturecelsius | 325 | Decimal | 0.5 | →Dry gas temperaturecelsius
Fragment voltage | Fragment voltage | 120 | Decimal | 0.5 | →Fragment voltage
Fragmentation method | Fragmentation method | CID | CODE | 0.5 | →Fragmentation method
CID: Collision-induced dissociation; CODE: Code linking to ontology term; MODIS: Metabolomics data integration system; MS: Mass spectrometry.
Table S1. Minimum Information about a Metabolomics Experiment (MIME) of per sample required QC related information applicable to MS experiments
Column Title | Description | Example | Col Type | Score | Value Domain
Injection order | Injection Order | 1 | Integer | 1 | →Sample→ Injection Order
Type of Sample | Sample Type (QC, Blank, Mix of standards, Study sample) | QC | CODE | 1 | → Sample→ Sample Type and QC
Ionization Mode | Ionization Mode | Plus | CODE | 1 | → MODIS→ MODIS Experimental Procedures→ MODIS Files→ Mapping File→ Ionization Mode Column
Table S2 MIME of required QC related information per LC-MS experiment
Column Title | Description | Example | Col Type | Score | Value Domain under →MODIS→ MODIS Experimental Procedures→Mass Spectrometry→QC
Name of Spiked-In Internal Standard | Internal standards for targeted metabolomics (spiked-in analyte standards or isotope-labeled internal standards) | PubChem: 2966 (Debrisoquine) | CODE | 1 | →Metabolites
RT of Spiked-In Internal Standard | RT of Spiked-In Internal Standard | 2.0363 | Decimal | 1
m/z of Spiked-In Internal Standard | m/z of Spiked-In Internal Standard | 176.1187 | Decimal | 1
Batch correction method used | Batch correction method used | Linear regression | CODE | 1 | → Batch correction method used
Normalization method used | Normalization method used | Normalization to internal standard, then log transform | CODE | 1 | → Normalization method used
Calibration tables | Calibration tables for blanks and standard solutions showing values and ppm error before/after a run | Somefilename.csv | FILE | 1 | →Calibration tables File
Table S3 MIME with NMR list of required information
Column Title | Description | Example | Col Type | Score | Value Domain under →MODIS→ MODIS Experimental Procedures→ NMR - Nuclear Magnetic Resonance
Instrument Name | Instrument Name | Bruker Avance III | CODE | 1 | →NMR Instrument Name
Type of NMR Pulse Sequence | NMR Pulse Sequence | quadrupolar Carr-Purcell-Meiboom-Gill pulse sequence | CODE | 1 | → CHMO_0001841
NMR Probe | NMR Probe | Cryogenically cooled ATMA inverse probe | CODE | 1 | → NMR Probe
NMR Solvent | NMR Solvent | 1,4-Dioxan (OCH2CH2)2 | CODE | 1 | →NMR Solvent
Field strength and Frequency | Field strength in Tesla and Spectrometer Proton resonance frequency in MHz | 20.0 Tesla (850MHz) | CODE | 1 | → NMR Field Strengths and Frequencies
Table S4 MIME with NMR list of optional information
Column Title | Description | Example | Col Type | Score | Value Domain under → MODIS→ MODIS Experimental Procedures→ NMR - Nuclear Magnetic Resonance→ NMR Details
Custom Pulse Sequence | File with the Custom Pulse Sequence | See http://www.bmrb.wisc.edu/pulse_seq/ | FILE | 1
Spectral NMR Library | Spectral Libraries of NMR Standard References | Bruker Library | CODE | 0.5 | [Different Value Domain] MODIS→ MODIS Experimental Procedures→ Spectral Libraries of Standard Reference
NMR Tube Size | NMR Tube Size | Example: 5mm x 4cm | String | 0.5 | → NMR Tube Size
Type of NMR Tube | Type of NMR Tube | Shigemi | CODE | 0.5 | → NMR Tube Type→ Conventional
Shimming Method | Shimming Method | FID Shimming | CODE | 1 | → Shimming Method
Water Suppression | Water Suppression | Yes | CODE with MODIFIER | 0.5 | → Water Suppression
Pulse Width | Pulse Width Microseconds | 10.7 | Decimal | 0.5 | → Pulse Width
Power Level | Power Level in dB | -1 | Decimal | 0.5 | → Power Level
Receiver Gain | Receiver Gain in mM |  | Decimal | 0.5 | → Receiver Gain
Offset Frequency | Offset Frequency (Water Suppression) in MHz | 3296 | Decimal | 0.5 | → Offset Frequency
Presaturation Power level | Presaturation Power level in dB | 53.64 | Decimal | 0.5 | → Power Level Presaturation
Chemical Shift Reference Compound | Chemical Shift of the Reference Compound | TMSP | String | 1 | → Chemical Shift Ref Compound
Temperature in Kelvin | Temperature in Kelvin (K) | 598.15 | Decimal | 0.5 | → NMR Temperature→ Temperature
Temperature in Celsius | Temperature in Celsius | 325 | Decimal | 0.5 | → NMR Temperature→ Temperature in Celsius
Number of Scans (Transients) | Number of Scans (Transients) | 128 | Integer | 1 | → Number of Transients
Number of Dummy Scans | Number of Dummy Scans | 4 | Integer | 0.5 | → Number of Dummy Scans
Acquisition Time in Minutes | Acquisition Time in Minutes | 12 | Decimal | 0.5 | → Acquisition Time in Minutes
Relaxation Delay | Relaxation Delay in Seconds | 2 | Decimal | 0.5 | → Relaxation Delay
Spectral Width | Spectral Width in ppm | 20.16 | Decimal | 0.5 | → Spectral Width
Table S5 MIME of optional information to any experiment
Column Title | Description | Example | Col Type | Score | Value Domain under →MODIS→ MODIS Experimental Procedures→ Analysis
Data Acquisition File | File with the protocol with descriptions of the data acquisition method | Somefilename.pdf | FILE | 0.5 | → Data Acquisition File
Software/Version | Name of Software and Version | XCMS v2 | CODE | 1 | → Software/Version
Data Processing File | File with the protocol with description of the data processing method | Somefilename.pdf | FILE | 0.5 | → Data Processing File
Analysis Protocol ID | Identifier of the Submitter's Analysis Protocol | ABC1234 | String | 0.1 | → Analysis Protocol ID
Instrument Parameters File(s) | Instrument Parameters File(s) | Somefilename.txt | FILE | 0.5 | → Instrument Parameters File
Table S9 Quantatitive scores used to calculate an identified metabolite's confidence level
Information | CODE | Score
Infrared spectroscopy absorbance spectrum | METID:InfraredSpectroscopyAbsorbanceSpectra | 0.5
Ultraviolet absorbance spectrum | METID:UltravioletAbsorbanceSpectra | 0.5
Retention time (±2.5 %) | METID:RT | 1
High resolution retention time (±0.5 %, W1/2\10 s) | METID:HRRT | 1.5
High resolution retention index (±0.5 %, RI ± 25, W1/2\10 s) | METID:HRRI | 2
Nominal mass of parent ion | METID:NOMMASSPARENTION | 0.5
Accurate mass of parent ion (<5 ppm) | METID:ACCMASSPARENTION | 1
Molecular formula based upon accurate m/z and isotope pattern | METID:MolecularFormula | 1
Confident electron impact spectral match to commercial library | METID:EI_MATCH_VALUES | 1
Tandem mass spectrum | METID:LC_MSMS_SPECTRA | 1.5
GC-MS spectrum | METID:GC_MS | 1
Accurate mass tandem mass spectrum (<5 ppm) | METID:AccurateMSMSspec | 2
1H 1D NMR | METID:1D_NMRSPECTRA | 2
1H 2D NMR | METID:2D_NMRSPECTRA | 3
1H 9 13C 2D NMR | METID:NMR_1H913C2DSpectra | 4
An example of the use of Table S 9: A metabolite’s identification data might include UHPLC/MS accurate mass, high resolution retention time, and match to an authentic reference compound. If authentic spectra reference is used, then multiply the score by 2 The identification score for this metabolite would be (1.5 + 1.0) *2 = 5.0. If one also combines these analyses with an accurate tandem mass spectral match to an authentic standard this would increase the score to (1.5 + 1.0 + 1.5) *2 = 8.

## Metadata
Column title | required | required_QC | Provided (Type 1 if yes else 0) | Where (i.e., where can other people find the information?) | score | score_scale
Analysis type | 1 |  | 1 | test | 1 | 1
MS ionization type | 1 |  | 1 | test | 1 | 1
MS instrument type | 1 |  | 1 | test | 1 | 1
Source of QC or reference sample | 1 |  | 1 | test | 1 | 1
Spectral MS library | 1 |  | 1 | test | 1 | 1
Caplillary temprature celsus |  |  | 1 | test | 0.5 | 1
Capillary voltage |  |  | 1 | test | 0.5 | 1
Collision energy |  |  | 1 | test | 0.5 | 1
Collision gas |  |  | 0 | test | 0.5 | 1
Dry gas flow |  |  | 0 |  | 0.5 | 1
Dry gas temperature celsius |  |  | 1 |  | 0.5 | 1
Fragment voltage |  |  | 0 |  | 0.5 | 1
Fragmentation method |  |  | 0 | test | 0.5 | 1
Injection order |  | 1 | 0 | test | 1 | 1
Type of Sample |  | 1 | 1 | test | 1 | 1
Ionization Mode |  | 1 | 1 | test | 1 | 1
Name of Spiked-In Internal Standard |  | 1 | 1 | test | 1 | 1
RT of Spiked-In Internal Standard |  | 1 | 1 | test | 1 | 1
m/z of Spiked-In Internal Standard |  | 1 | 1 | test | 1 | 1
Batch correction method used |  | 1 | 1 | test | 1 | 1
Normalization method used |  | 1 | 1 | test | 1 | 1
Calibration tables |  | 1 | 1 | test | 1 | 1
Data Acquisition File |  |  |  |  | 0.5 | 1
Software/Version |  |  | 1 | test | 1 | 1
Data Processing File |  |  |  |  | 0.5 | 1
Analysis Protocol ID |  |  |  |  | 0.1 | 1
Instrument Parameters File(s) |  |  |  |  | 0.5 | 1
Infrared spectroscopy absorbance spectrum |  |  |  |  | 0.5 | 2
Ultraviolet absorbance spectrum |  |  |  |  | 0.5 | 2
Retention time (±2.5 %) |  |  |  |  | 1 | 2
High resolution retention time (±0.5 %, W1/2\10 s) |  |  | 1 | test | 1.5 | 2
High resolution retention index (±0.5 %, RI ± 25, W1/2\10 s) |  |  |  |  | 2 | 2
Nominal mass of parent ion |  |  |  |  | 0.5 | 2
Accurate mass of parent ion (<5 ppm) |  |  | 1 | test | 1 | 2
Molecular formula based upon accurate m/z and isotope pattern |  |  |  |  | 1 | 2
Confident electron impact spectral match to commercial library |  |  |  |  | 1 | 2
Tandem mass spectrum |  |  | 1 | test | 1.5 | 2
GC-MS spectrum |  |  |  |  | 1 | 2
Accurate mass tandem mass spectrum (<5 ppm) |  |  |  |  | 2 | 2
1H 1D NMR |  |  |  |  | 2 | 2
1H 2D NMR |  |  |  |  | 3 | 2
1H 9 13C 2D NMR |  |  |  |  | 4 | 2
Authentic spectra reference used |  |  | 1 | test | 0 | 0