|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Test | Data | Operating System | MZmine version | Number of detected peaks without Nextflow | Number of detected peaks with Nextflow |
| 1 | DCSM | MacOS Sierra 10.12.6 | 2.28 | 879 | 879 |
|  | VT001 | 9239 | 9329 |
| 2 | DCSM | Red Hat Enterprise Linux Server release 7.6 | 2.38 | 879 | 879 |
|  | VT001 |  |  |
| 3 | DCSM |  |  |  |  |
|  | VT001 |  |  |  |  |
| 4 | DCSM |  |  |  |  |
|  | VT001 |  |  |  |  |
| 5 | DCSM |  |  |  |  |
|  | VT001 |  |  |  |  |